## EQUIPMENTS
NANOUPTAKE AVAILABLE EQUIPMENTS 05/2019
Measurable properties | Location/ Institution | Country | Technique | Trademark | Temperature range [ºC] | Sample specifications | Additional information | Equipment Web link | Contact person email | Type of use:free to use/some additional cost
Thermal conductivity | Aristotle University | Greece | Guarded Heat Flowmeter |  | 30 C, 0.1 MPa | Solids |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Thermal conductivity | Aristotle University | Greece | Transient hot wire | 2 Ta-wires anodized instrument | -20 to +200 C, 50 MPa | Liquids, Gases |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Thermal conductivity | Aristotle University | Greece | Transient hot wire | 2 Ta-wires anodized instrument in silicon paste | 0 to +200 C, 0.1 MPa | Solids |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Viscosity | Aristotle University | Greece | AR550 Rheometer (Parallel Plates) | TA Instruments | 0 to +100 C, 0.1 MPa | Liquids Newtonian & Non-Newtonian |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Viscosity | Aristotle University | Greece | Rotovisco RV20 (concentroc Cylinders) | Netzsh | 0 to +80 C, 0.1 MPa | Liquids Newtonian & Non-Newtonian |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Viscosity | Aristotle University | Greece | Vibrating Wire | Various radii | 0 to +200 C, 0.1 50 MPa | Liquids, Gases |  | https://transp.cheng.auth.gr/ | Marc Assael (assael@auth.gr; marc.assael@gmail.com)
Electrochemical (redox potential, diffusion coefficient) | CEA-Saclay | France | Potentiostat CV and impedance measurements | VersaStat 4 | from 0 to 80 | Variable cell sizes (from 1mL to 20mL) | Higher temperature under development | https://www.ameteksi.com/products/potentiostats/single-channel/versastat-series/versastat-4 | sawako.nakamae@cea.fr | Some additional cost or free of use within collaborative projects
Magnetization (for ferrofluids) | CEA-Saclay | France | Commercial SQUID magnetometer | Cryogenic | from -270 to 350 | Small (less than few mm3) | Liquid testing at high temperature not possible | http://www.cryogenic.co.uk/products/s700x-squid-magnetometer | sawako.nakamae@cea.fr | Some additional cost
pH | CEA-Saclay | France | Titrator | Karl Fischer |  |  |  |  | sawako.nakamae@cea.fr | Free of use upon former request, or within collaborative projects
Thermal conductivity | CEA-Saclay | France | Steady-state heat transfer | Home-made | Near room temperature | less than 2mL |  |  | sawako.nakamae@cea.fr | Some additional cost or free of use within collaborative projects
Thermoelectric coefficient and power density | CEA-Saclay | France | Diffusive or convection mode open circuit measurements in thermocells | Home-made | from -10 to 180 | Variable cell sizes (less than 1mL to 20mL) | Capacitance mode also available |  | sawako.nakamae@cea.fr | Some additional cost or free of use within collaborative projects
Density | CNR-ITC | Italy | Vibrating tube | Anton Paar DMA 512 | from 10°C to 80°C |  |  |  | laura.fedele@itc.cnr.it
Density | CNR-ITC | Italy | Vibrating tube | Anton Paar DMA 602 | from 10°C to 80°C |  |  |  | laura.fedele@itc.cnr.it
Heat transfer coefficient | CNR-ITC | Italy | Constant applied heat | Home-made | from 20°C to 70°C |  |  |  | sergio.bobbo@itc.cnr.it
Particle size distribution, zeta potential | CNR-ITC | Italy | Dynamic Light Scatering | Nanozizer ZS (Malvern) | from 0°C to 90°C |  |  | https://www.malvernpanalytical.com/en/products/product-range/zetasizer-range/zetasizer-nano-range/zetasizer-nano-zs/index.html | stefano.rossi@itc.cnr.it
Solubility of gas in oil | CNR-ITC | Italy | Static synthtic method | Home-made | from -30°C to 70°C |  |  |  | sergio.bobbo@itc.cnr.it
Specific Heat, Latent Heat | CNR-ITC | Italy | Adiabatic Scanning Calorimetry (ASC) | KU Leuven | from -50° to 150°C |  |  |  | sergio.bobbo@itc.cnr.it
Thermal conductivity | CNR-ITC | Italy | Transient hot wire | thw-01L (AccuInstruments) | from -40° to 150°C |  | Two wires; liquid and gas TC |  | sergio.bobbo@itc.cnr.it
Thermal conductivity, Thermal diffusivity | CNR-ITC | Italy | Hot disk | TPS 2500 S (Hot Disk) | from -30° to 150°C |  |  | https://www.hotdiskinstruments.com/products-services/instruments/tps-2500-s/ | laura.fedele@itc.cnr.it
Viscosity | CNR-ITC | Italy | Rheometry | AR-G2 rotational rheometer (TA Instruments) | from -20°C to 200°C |  | Cone-plate geometry |  | laura.fedele@itc.cnr.it
Rheometry | Dokuz Eylül University | Turkey | Rheometry | Brookfield DV3T | from 10 to 70ºC | 16 ml sample |  | Brookfield DV3T-LV | alpaslan.turgut@deu.edu.tr | Free to use
Thermal conductivity | Dokuz Eylül University | Turkey | 3 omega method (3 w method) | Homemade setup | from 10 to 70ºC | liquid (5 ml) | Details of the equipment could be find at https://link.springer.com/content/pdf/10.1140/epjst/e2008-00459-7.pdf |  | alpaslan.turgut@deu.edu.tr | Free to use
Ultrasound probe | Dokuz Eylül University | Turkey | Ultrasonic homogenizer | Misonix Inc S-3000 Sonicator | from 10 to 70ºC |  |  | www.sonicator.com/collections/S-3000 | alpaslan.turgut@deu.edu.tr | Free to use
Viscosity | Dokuz Eylül University | Turkey | Sine-wave vibro viscometer | A&D SV-10 | from 10 to 70ºC | 10 ml sample |  | http://www.aandd.jp/products/test_measuring/sv10/sv10.html | alpaslan.turgut@deu.edu.tr | Free to use
Chemical composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Fourier-transform infrared spectroscopy | Tensor 37 |  |  |  |  | javier.navas@uca.es | free to use
Crystal structure and chemical composition | Facultad de Ciencias / Universidad de Cádiz | Spain | X-Ray Diffraction | D8ADVANCE A25 Davinci |  | 100 mg |  | https://www.bruker.com/products/x-ray-diffraction-and-elemental-analysis/x-ray-diffraction/d8-advance/overview.html | javier.navas@uca.es | some additional cost
Elemental composition, chemical and electronic state on the surface of material | Facultad de Ciencias / Universidad de Cádiz | Spain | X-Ray Photoelectron Spectroscopy | Kratos Axis Ultra DLD | from -100ºC to 600ºC | 100 mg |  | https://www.jenck.com/productos/producto/axis-ultra-dld | javier.navas@uca.es | some additional cost
Morphology/Composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Scanning electron microscopy-SEM | Nova NanoSEM 450 |  |  |  |  | javier.navas@uca.es | some additional cost
Morphology/Composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Transmission electron microscopy-TEM | FEI TITAN Themis 60-300 |  |  |  |  | javier.navas@uca.es | some additional cost
Morphology/Composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Transmission electron microscopy-TEM | JEOL2010F |  |  |  |  | javier.navas@uca.es | some additional cost
Morphology/Composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Transmission electron microscopy-TEM | JEOL2100 LaB6 |  |  |  |  | javier.navas@uca.es | some additional cost
Morphology/Composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Transmission electron microscopy-TEM | TALOS F200X |  |  |  |  | javier.navas@uca.es | some additional cost
Particle size distribution and zeta potential | Facultad de Ciencias / Universidad de Cádiz | Spain | Dynamic Light Scatering and Phase Analysis Light Scattering | Zetasizer Nano ZS | from RT to 40ºC | 2 ml |  | https://www.malvernpanalytical.com/en/products/product-range/zetasizer-range/zetasizer-nano-range/zetasizer-nano-zs | javier.navas@uca.es | free to use
Specific Heat, Latent Heat, Thermal processes analysis | Facultad de Ciencias / Universidad de Cádiz | Spain | Differential Scanning Calorimetry (DSC), Modulated Diferential Scanning Calorimetry (MDSC) | DSC Polyma 214 | from -40ºC-600ºC | ~50 mg/sample |  | https://www.netzsch-thermal-analysis.com/en/products-solutions/differential-scanning-calorimetry/dsc-214-polyma/ | javier.navas@uca.es | free to use
Structural composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Raman Spectroscopy | iRaman |  |  | Diode Laser 785 nm |  | javier.navas@uca.es | free to use
Structural composition | Facultad de Ciencias / Universidad de Cádiz | Spain | Raman Spectroscopy | JobinYvon U1000 | from RT to 80ºC | 500 mg | Laser DPSS 473 nm and 532 nm |  | javier.navas@uca.es | free to use
Thermal conductivity, Thermal diffusivity, Specific heat | Facultad de Ciencias / Universidad de Cádiz | Spain | Transient Hot Bridge (THB) | THB-100 | from -50 to 200ºC | Liquid (20 ml) samples can be measured. |  | https://www.linseis.com/en/products/thermal-diffusivity-thermal-conductivity-instruments/thb-transient-hot-bridge/ | javier.navas@uca.es | free to use
Thermal diffusivity | Facultad de Ciencias / Universidad de Cádiz | Spain | Light Flash Apparatus | LFA 457 Hyperflash | from -1000 to 500ºC | Liquid (1 ml) samples can be measured and solid samples (diameter: 12.7 mm and 25.4 mm) |  | https://www.netzsch-thermal-analysis.com/us/products-solutions/thermal-diffusivity-conductivity/lfa-467-hyperflash/ | javier.navas@uca.es | free to use
Ultrasound bath | Facultad de Ciencias / Universidad de Cádiz | Spain | Ultrasonic homogenizer | Elmasonic P60 H | from RT to 80ºC |  | f: 37 / 80 kHz | https://www.elma-ultrasonic.com/fileadmin/downloads/Produktprofile/Produktprofile_EN/Ultraschallgeraete/Elmasonic_P/PP_Elmasonic_P60H_EN.pdf | javier.navas@uca.es | free to use
Ultrasound bath | Facultad de Ciencias / Universidad de Cádiz | Spain | Ultrasonic homogenizer | Elmasonic S30 H | from RT to 80ºC |  | f: 37 kHz | https://www.elma-ultrasonic.com/fileadmin/downloads/Produktprofile/Produktprofile_ES/Ultraschallgeraete/Elmasonic_S/PP_Elmasonic_S30H_ES.pdf | javier.navas@uca.es | free to use
Ultrasound bath | Facultad de Ciencias / Universidad de Cádiz | Spain | Ultrasonic homogenizer | Elmasonic TI-H5 | from RT to 80ºC |  | f: 35 / 130 kHz | https://www.elma-ultrasonic.com/fileadmin/downloads/Produktprofile/Produktprofile_EN/Ultraschallgeraete/Transsonic_TI-H/PP_Elmasonic_TI-H5_EN.pdf | javier.navas@uca.es | free to use
Ultrasound probe | Facultad de Ciencias / Universidad de Cádiz | Spain | Ultrasonic homogenizer | Sonics Vibra Cell VCX 750 sonicator |  |  | probe for high and low surface tension | https://www.sonics.com/liquid-processing/products/vibra-cell-processors/vcx-500-vcx-750/ | javier.navas@uca.es | free to use
Viscosity | Facultad de Ciencias / Universidad de Cádiz | Spain | Rheometry | SV-10 viscometer | from 10ºC to 40ºC | 10-13 ml | Sample cup: polycarbonate and glass | http://www.aandd.jp/products/test_measuring/sv10/sv10.html | javier.navas@uca.es | free to use
Colloidal Suspension Stability | IK4-TEKNIKER | Spain | Centrifuged Vis Spectrophometry | LUMifuge | From room temperature to 60ºC | 8 samples at same time measureble |  |  | marta.hernaiz@tekniker.es | some additional cost
Compasition | IK4-TEKNIKER | Spain | UltraViolet Visible Spectrophotometry (UV-Vis) | Perkin Elmer Lambda 950 | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Composition | IK4-TEKNIKER | Spain | Fourier Transformed InfraRed (FT IR) | JASCO FT-IR 4700 | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Composition | IK4-TEKNIKER | Spain | Optical Emission Spectroscopy (ICP) | HORIBA ULTIMA EXPERT | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Crystal structure and chemical composition | IK4-TEKNIKER | Spain | X-Ray Driffaction (DRX) | BRUKER D8 ADVANCE | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
High Mecanical Stirring | IK4-TEKNIKER | Spain | Mechanical dispersion | VMA-GETZMANN DISPERMAT | Room Temperature | Ball Basket for nano range dispersion |  |  | marta.hernaiz@tekniker.es | some additional cost
Morphology/Composition | IK4-TEKNIKER | Spain | Fluorescence | BRUKER S8 TIGER | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Morphology/Composition | IK4-TEKNIKER | Spain | Scanning Electron Microscopy (SEM) |  | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Particle size distribution | IK4-TEKNIKER | Spain | Dinamic Light Scatering (DLS) | ZETASIZER NANO SERIES MALVERN | Room Temperature | Minimun dispersion stability required |  |  | marta.hernaiz@tekniker.es | some additional cost
Particle size distribution | IK4-TEKNIKER | Spain | Laser Diffraction (LS) | MASTERSIZER 2000 MALVERN | Room Temperature | 200ml |  |  | marta.hernaiz@tekniker.es | some additional cost
Specific Heat,Latent Heat, Thermal processes analysis | IK4-TEKNIKER | Spain | Calorimetry DSC | HPDSC1 -Mettler Toledo | From -50 to to 500ºC |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Surface Area | IK4-TEKNIKER | Spain | Surface Area Analyzer (BET) | IQ AUTOSORB | @-196,15ºC (Liquid Nitrogen) |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Test Bench for Heat transfer coeficient | IK4-TEKNIKER | Spain |  | Ad-Hoc Test Bench | From 20 to 80ºC | for refrigerants with phases transition |  |  | marta.hernaiz@tekniker.es | some additional cost
Thermal Conductivity | IK4-TEKNIKER | Spain | Transient hot wire | KD2 Pro | from -5ºC to 100ºC | Solid (30ml/sample) and liquid (20 ml) samples can be measured. |  |  | marta.hernaiz@tekniker.es | some additional cost
Thermal stability | IK4-TEKNIKER | Spain | Thermogravimetric analysis-TGA | TGA/SDTA851e-Mettler Toledo | From 25 to 1200ºC |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Thermal Stability/Reactivity | IK4-TEKNIKER | Spain | ThermoGravimetric Analisys (TGA) | METTLER TOLEDO | From 50ºC to 1100ºC |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Thermal Stability/Reactivity/phase change temperature | IK4-TEKNIKER | Spain | Dynamic Scanning Calorimetry (DSC) | METTLER TOLEDO | From 50ºC to 550/600ºC |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Ultrasonication Bath | IK4-TEKNIKER | Spain | Dispersion by Ultrasonic Cavitation | ELMA ELMASONIC S 30 | Room Temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Ultrasonication Tip | IK4-TEKNIKER | Spain | Dispersion by Ultrasonic Cavitation | Hielscher UIP 1000hdt | Room temperature |  |  |  | marta.hernaiz@tekniker.es | some additional cost
Viscosity | IK4-TEKNIKER | Spain | Rheology | TA Discover HR 2 Rehometer | From 5ºC to 600ºC | Plate-Plate, Cone-Plate and Cuvette (5ºC) and to reach 600ºC (oven) | Low and high viscosity rates |  | marta.hernaiz@tekniker.es | some additional cost
Wettability/Surface Energy | IK4-TEKNIKER | Spain | Surface Tension/Contact Angle | KRUSS Easy Dine | Room Temperature | Static/Sliding angles |  |  | marta.hernaiz@tekniker.es | some additional cost
Building test rigs of all typs for heat transfer processes (pipe flow, heat exchangers, phase change devices) | ILK Dresden | Germany | Inhouse apparatus according to customers demand |  | depends on customer demands |  |  |  | Matthias.Buschmann@ilkdresden.de | to be payed according to project costs
Specific Heat,Latent Heat, Thermal processes analysis | ILK Dresden | Germany | DSC (cp and enthalpy) | µDSC VII von Setaram | -40…100 °C |  |  |  | Matthias.Buschmann@ilkdresden.de | to be payed according to project costs
Specific Heat,Latent Heat, Thermal processes analysis | ILK Dresden | Germany | DSC (enthalpy) | DSC Q200 TA Instruments | -90…400 °C |  |  |  | Matthias.Buschmann@ilkdresden.de | to be payed according to project costs
Thermal conductivity | ILK Dresden | Germany | Inhouse apparatus (ring gap apparatus) |  | depends on fluid and pressure |  |  |  | Matthias.Buschmann@ilkdresden.de | to be payed according to project costs
Chemical composition | Lund University | Sweden | Fourier-transform infrared spectroscopy | FT/IR-6200 |  |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Some additional cost
Morphology/Composition | Lund University | Sweden | Scanning electron microscopy-SEM | Hitachi SU8010 |  |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Particle size distribution | Lund University | Sweden | Dynamic Light Scatering | Malvern Nano Zetasizer | from 0 to 90 |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
pH meter | Lund University | Sweden | - | Orion Star A211 pH benchtop meter |  |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Specific heat | Lund University | Sweden | Differential Scanning Calorimetry (DSC) | TA instruments |  |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Thermal conductivity | Lund University | Sweden | Transient plane source | TPS 2500S | Up to 150 ºC |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Viscosity | Lund University | Sweden | Rheometry | Brookfield | from -35 to 150 |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Zeta potential | Lund University | Sweden | - | Malvern Nano Zetasizer | from 0 t0 90 |  |  |  | bengt.sunden@energy.lth.se; zan.wu@energy.lth.se | Free to use
Ball mill | Naitec | Spain | Nanoparticles dispersión | Microcer Netzsch |  |  |  | https://www.netzsch-grinding.com/es/productos-soluciones/molienda-en-via-humeda/molinos-de-laboratorio-de-las-miniseries-microseries/ | jesarte@naitec.es | Some additional cost
Chemical composition | Naitec | Spain | Fourier-transform infrared spectrocopy | Perkin Elmer Spectrum 100 |  |  |  |  | jesarte@naitec.es | Some additional cost
Latent Heat | Naitec | Spain | Differential Scanning Calorimetry (DSC) | Perkin Elmer DSC-Diamond | from -50 to 650ºC |  |  |  | jesarte@naitec.es | Some additional cost
Morphology/Composition | Naitec | Spain | Scanning electron microscopy (SEM) | Carl Zeiss Ultra Plus |  |  |  |  | jesarte@naitec.es | Some additional cost
Particle Size distribution | Naitec | Spain | Dynamic Light Scatering | Zetasizer Nano ZS90 (Malvern) | from 0 to 90ºC |  |  | https://www.malvernpanalytical.com/en/products/product-range/zetasizer-range/zetasizer-nano-range/zetasizer-nano-zs90 | jesarte@naitec.es | Some additional cost
Tensiometer | Naitec | Spain | Bubble Presure tensiometer | Sensadyne |  |  |  | http://www.sensadyne.com/qc6000-1 | jesarte@naitec.es
Thermal conductivity | Naitec | Spain | Transient hot brigde | Linseis THB 100 | from -50 to 200ºC |  |  | https://www.linseis.com/en/products/thermal-diffusivity-thermal-conductivity/thb-transient-hot-bridge/ | jesarte@naitec.es | Some additional cost
Thermal study | Naitec | Spain | Thermogravimetric analysis (TGA) | Perkin Elmer TGA 7 | up to 950ºC |  |  |  | jesarte@naitec.es | Some additional cost
Ultrasound probe | Naitec | Spain | Ultrasonic homogenizer | Sonic VCX 750 |  |  |  | https://www.sonics.com/liquid-processing/products/vibra-cell-processors/vcx-500-vcx-750/ | jesarte@naitec.es | Some additional cost
Viscosity | Naitec | Spain | Rheometry | Physica MC1 | from 10 to 60ºC |  |  |  | jesarte@naitec.es | Some additional cost
Density | Rzeszow University of Technology | Poland |  | Tensjometr PI-MT1A.KOM Polon-Izot | from 10 to 60ºC | 60 ml |  | http://www.polonizot.pl/produkty,254,73,tensjometr-typ-d-mt1a.html | gzyla@prz.edu.pl | free to use
Electrical conductivity AC, permittivity, impedance | Rzeszow University of Technology | Poland |  | Novocontrol Concept 80 | from -160ºC to 400ºC | ~1ml | Frequency range: from 3 μHz to 3 GHz |  | gzyla@prz.edu.pl | some additional costs
Electrical conductivity DC | Rzeszow University of Technology | Poland |  | WTW, MultiLIine 3410, MultiLine 3630 | from -5ºC to 70ºC | ~25ml | Range: 0,01µS/cm - 2000mS/cm |  | gzyla@prz.edu.pl | free to use
Mass | Rzeszow University of Technology | Poland | analytic balance | RADWAG WAS220/X |  | 10-220 mg |  |  | gzyla@prz.edu.pl | free to use
pH | Rzeszow University of Technology | Poland |  | WTW, MultiLIine 3410, MultiLine 3631 | from 5ºC to 80ºC | ~25ml | Range: from 0 to 14 pH |  | gzyla@prz.edu.pl | free to use
polarizing microscope with a heating table | Rzeszow University of Technology | Poland |  | Eclipse LV100POL Nikon | from -160ºC-300ºC |  |  | https://www.nikonmetrology.com/fr/product/eclipse-lv100n-pol | gzyla@prz.edu.pl | free to use
Refractive Index | Rzeszow University of Technology | Poland | Prism with 589 nm LED light source | Abbemat 350 Anton Paar | from 4 to 85ºC | > 0,2 ml | Range: 1,26 – 1,72 | https://www.anton-paar.com/us-en/products/details/abbemat-performance-and-performance-plus-line/ | gzyla@prz.edu.pl | free to use
Surface tension | Rzeszow University of Technology | Poland | du Nouy ring | Tensjometr PI-MT1A.KOM Polon-Izot | from 10 to 60ºC | 25 ml | Range: 1-2000 mN/m | http://www.polonizot.pl/produkty,254,73,tensjometr-typ-d-mt1a.html | gzyla@prz.edu.pl | free to use
Thermal conductivity | Rzeszow University of Technology | Poland | Transient hot wire | KD2 Pro |  | 30 ml |  | https://www.metergroup.com/environment | gzyla@prz.edu.pl | free to use
Ultrasound bath | Rzeszow University of Technology | Poland | Ultrasound bath | Emmi 60 HC EMAG |  |  |  | http://www.emag-polska.pl/produkty/myjki_emag/emmi-60HC.html | gzyla@prz.edu.pl | free to use
Ultrasound probe | Rzeszow University of Technology | Poland | Ultrasonic homogenizer | Sonics Vibracell VCX130 Sonics & Materials Inc |  |  | High energy sonication | https://www.sonics.com/liquid-processing/products/vibra-cell-processors/vcx-130/ | gzyla@prz.edu.pl | free to use
Viscosity | Rzeszow University of Technology | Poland | Rheometry | HAAKE MARS 2 rheometer Thermo Electron Corporation | From -150 to 500ºC | Depends on the measuring geometry type (from 0.2 ml to 50 ml) | Possible measurements in high pressure (up to 100 bar) and in electric field (up to 2000 V/mm) |  | gzyla@prz.edu.pl | free to use
Vortex | Rzeszow University of Technology | Poland | Vortex | IKA Vortex 3 |  |  |  | https://www.ika.com/en/Products-Lab-Eq/Shakers-Vortex-mixer-Lab-shakers-csp-179/VORTEX-3-cpdt-3340000/ | gzyla@prz.edu.pl | free to use
Electrical conductivity | Technical University ”Gheorghe Asachi” from Iasi | Romania | HI 2030 edge | Hanna Instruments |  |  |  | https://www.hannainstruments.co.uk/edge-bench-conductivity-meter.html | aminea@tuiasi.ro | free to use
Morphology/Composition | Technical University ”Gheorghe Asachi” from Iasi | Romania | Scanning electron microscopy-SEM | Vega TESCAN |  |  |  | https://erris.gov.ro/index.php?&ddpN=1693097241&we=d3cdf3482aed0446e2532b946e1769a8&wf=dGFCall&wtok=6eed860920995196e66276bc109dffe0c9ef1169&wtkps=bY7BEoIgEIbfZe86oqC23ms6deoBTEgpDAS1saZ3D+jaaXfm23//r8Ua3w4ZwnO+KweNRMLqoqyyxmGB4CQHv9EMQY9mo5KMG2OMl5Xi5WudFdUJmToq5JqQG8+dzcP9DqG77ttOqmPM+08ljST3TSIuBGHUfFEibY1Jte1Ts1yU7AL0bAqzRjgMwrMhZrzmtAi7/UE+sQb74E1IqD/Z/vyQ80/A19ICms8X&wchk=63856b8809a6e8c48ab2d491ec639ac65912958d#s | aminea@tuiasi.ro | free to use
Specific Heat,Latent Heat, Thermal processes analysis | Technical University ”Gheorghe Asachi” from Iasi | Romania | Differential Scanning Calorimetry (DSC) | DSC2 Mettler Toledo | from -150ºC-700ºC | ~50µl/sample |  | https://erris.gov.ro/index.php?&ddpN=1693097241&we=d3cdf3482aed0446e2532b946e1769a8&wf=dGFCall&wtok=de873e9f423fd245078ae7630e9c6f78a35f8fdc&wtkps=bY7BEoIgFEX/5e11BAHtua9p1aoPMCClMFTUxpr+PbBtK+7MeZd7aizx7ZEjPKe79VAZJLzMRZFVHnMEbxSExDIE1/UrM6RbOedKFFaJ1zJZ5hIySKbNkpCbon6k8X6HIK/7Whp73PrhJ0FFTDQs6S0QhM6p2eq07vvUjU3azxdrZISBDfEtEQ6tDqzdOkFzmPW4/kGhsUT76E1InD+Nzflhpp9AmGU5VJ8v&wchk=5c94dae8e4bc40cb025e1a5c2997859599409a25 | aminea@tuiasi.ro | free to use
Ultrasound probe | Technical University ”Gheorghe Asachi” from Iasi | Romania | Ultrasonic bath | Bandelin |  |  |  | https://erris.gov.ro/index.php?&ddpN=1693097241&we=d3cdf3482aed0446e2532b946e1769a8&wf=dGFCall&wtok=6eed860920995196e66276bc109dffe0c9ef1169&wtkps=bY7BEoIgEIbfZe86oqC23ms6deoBTEgpDAS1saZ3D+jaaXfm23//r8Ua3w4ZwnO+KweNRMLqoqyyxmGB4CQHv9EMQY9mo5KMG2OMl5Xi5WudFdUJmToq5JqQG8+dzcP9DqG77ttOqmPM+08ljST3TSIuBGHUfFEibY1Jte1Ts1yU7AL0bAqzRjgMwrMhZrzmtAi7/UE+sQb74E1IqD/Z/vyQ80/A19ICms8X&wchk=63856b8809a6e8c48ab2d491ec639ac65912958d#s | aminea@tuiasi.ro | free to use
Viscosity | Technical University ”Gheorghe Asachi” from Iasi | Romania | Rheometry | Anton Paar MCR 501 | from -40ºC to 200ºC |  |  | https://erris.gov.ro/index.php?&ddpN=1693097241&we=d3cdf3482aed0446e2532b946e1769a8&wf=dGFCall&wtok=de873e9f423fd245078ae7630e9c6f78a35f8fdc&wtkps=bY7BEoIgFEX/5e11BAHtua9p1aoPMCClMFTUxpr+PbBtK+7MeZd7aizx7ZEjPKe79VAZJLzMRZFVHnMEbxSExDIE1/UrM6RbOedKFFaJ1zJZ5hIySKbNkpCbon6k8X6HIK/7Whp73PrhJ0FFTDQs6S0QhM6p2eq07vvUjU3azxdrZISBDfEtEQ6tDqzdOkFzmPW4/kGhsUT76E1InD+Nzflhpp9AmGU5VJ8v&wchk=5c94dae8e4bc40cb025e1a5c2997859599409a25 | aminea@tuiasi.ro | free to use
Chemical composition, crystal structure | Universidade de Vigo | Spain | X-ray diffraction (XRD) | PANanlytical X'Pert PRO | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
Chemical state | Universidade de Vigo | Spain | Fourier-transform infrared spectroscopy (FTIR) | FTIR Nicolet 6700 | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
Chemical state | Universidade de Vigo | Spain | X-ray phtoelectron spectroscopy (XPS) | Thermo-Fisher Scientific XPS K-ALPHA | Room temperature |  |  | https://www.thermofisher.com/order/catalog/product/IQLAADGAAFFACVMAHV | luis.lugo@uvigo.es | Some additional cost
Convection coefficents and pressure drop | Universidade de Vigo | Spain | Thermal resistances over a tube-in-tube heat exchanger | Homemade | from 20 to 50 °C | 3 l/sample | Experimental setup for heat transfer performance evaluation |  | luis.lugo@uvigo.es | Free to use
Crystal structure | Universidade de Vigo | Spain | Raman sprectroscopy | Horiba Jobin Yvon HR800UV | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
Density | Universidade de Vigo | Spain | Oscillating U-tube method | Anton Paar DMA 4500 | from 0°C to 100°C | 1 ml/sample |  | https://www.anton-paar.com/es-es/productos/detalles/densimetro-dmatm-4500-m/ | luis.lugo@uvigo.es | Free to use
Density | Universidade de Vigo | Spain | Oscillating U-tube method | Anton Paar DMA 500 | from 15 °C to 40°C | 1 ml/sample |  | https://www.anton-paar.com/corp-en/products/details/density-meter-dmatm-501/ | luis.lugo@uvigo.es | Free to use
Particle size, morphology | Universidade de Vigo | Spain | Atomic force microscopy (AFM) | Multimode 8 | Room temperature |  |  | https://www.bruker.com/es/products/surface-and-dimensional-analysis/atomic-force-microscopes/multimode-8-hr/overview.html | luis.lugo@uvigo.es | Some additional cost
Particle size, morphology | Universidade de Vigo | Spain | Transmission electron microscopy (TEM) | JEOL JEM-1010 | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
Particle size, morphology, composition | Universidade de Vigo | Spain | Scanning electron microscopy (SEM), Energy dispersive X-ray spectroscopy (EDS) | JEOL JSM-6700 f | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
Particle size, morphology, crystal structure | Universidade de Vigo | Spain | Transmission electron microscopy (TEM), Electron diffraction | JEOL JEM-2010 FEG | Room temperature |  |  |  | luis.lugo@uvigo.es | Some additional cost
pH | Universidade de Vigo | Spain | Glass electrode | HACH Sension+ PH3 | from -20 to 150 °C | 5 ml/sample |  | https://www.hach.com/sension-ph3-basic-laboratory-ph-orp-meter/product?id=7640520218 | luis.lugo@uvigo.es | Free to use
Size distribution, zeta potential | Universidade de Vigo | Spain | Dynamic Light Scattering | Zetasizer Nano ZS | from 0 to 90 °C | 150 μl/sample | High concentration zeta potential kit | https://www.malvernpanalytical.com/es/products/product-range/zetasizer-range/zetasizer-nano-range/zetasizer-nano-zs | luis.lugo@uvigo.es | Free to use
Specific Heat,Latent Heat, Thermal processes analysis | Universidade de Vigo | Spain | Differential Scanning Calorimetry (DSC), Modulated Differential Scanning Calorimetry (MDSC) | TA Instruments | from -180 to 725°C | ~20µl/sample |  | https://www.tainstruments.com/pdf/brochure/2012%20DSC%20Brochure%20r1.pdf | luis.lugo@uvigo.es | Free to use
Tensiometer | Universidade de Vigo | Spain | Drop formation | LAUDA TVT 2 | from 5 to 50 °C | 1 ml/sample |  | https://lauda-brinkmann.com/products/summary.php?p=TVT_2 | luis.lugo@uvigo.es | Free to use
Thermal conductivity | Universidade de Vigo | Spain | Transient hot wire | Thermtest THW-L2 | from -50 to 100°C | 20 ml/sample |  | https://thermtest.com/thw-l2 | luis.lugo@uvigo.es | Free to use
Thermal conductivity of solids, pastes or liquids | Universidade de Vigo | Spain | Guarded Heat Flow Meter | DTC-25 | Near ambient | ~ from 0,2 to 60 ml/sample |  | http://www.tainstruments.com/wp-content/uploads/DTC-25_2015.pdf | luis.lugo@uvigo.es | Free to use
Thermal conductivity, Thermal resistivity | Universidade de Vigo | Spain | Transient hot wire | KD2 Pro | from -50 to 150°C | Solid (30ml/sample) and liquid (20 ml) samples can be measured. |  | https://www.metergroup.com/environment | luis.lugo@uvigo.es | Free to use
Ultrasound bath | Universidade de Vigo | Spain | Ultrasonic homogenizer | JP Selecta SA |  |  |  | http://www.grupo-selecta.com/pdfs/es/pages/Espa%C3%B1ol%20Catalogo%20124.pdf | luis.lugo@uvigo.es | Free to use
Ultrasound probe | Universidade de Vigo | Spain | Ultrasonic homogenizer | Sonopuls HD2200-Bandelin |  |  |  | https://bandelin.com/produkte/ultrasonic_homogenizers/?lang=en | luis.lugo@uvigo.es | Free to use
Viscosity | Universidade de Vigo | Spain | Rheometry, magnetorheology | Physica MCR 101 | from -30 to +180 °C | ~300µl/sample |  | https://www.anton-paar.com/corp-en/products/group/rheometer/ | luis.lugo@uvigo.es | Free to use
Chemical composition | Universidade Lisboa / Faculdade Ciências | Portugal | Fourier-transform infrared spectroscopy | IRAffinity-1 (Shimadzu) | Room temperature | Solid and liquid samples |  |  | mssantos@ciencias.ulisboa.pt | Some additional cost
Chemical Structure | Universidade Lisboa / Faculdade Ciências | Portugal | Nuclear Magnetic Ressonance - NMR | Brucker 400 MHz | Room temperature | Liquid Samples |  |  | mjbrito@ciencias.ulisboa.pt | Some additional cost
Density | Universidade Lisboa / Faculdade Ciências | Portugal | Vibrating Tube | Anton Paar DMA 55 + HP cell 512 | from 20 to 100ºC | Liquid Samples |  |  | afsantos@ciencias.ulisboa.pt | Under contact
Density and Speed of Sound | Universidade Lisboa / Faculdade Ciências | Portugal | Vibrating Tube | Anton Paar DAS 5000M | from 20 to 150ºC | Liquid Samples |  |  | afsantos@ciencias.ulisboa.pt | Under contact
Dielectric Constant/Permittivity | Universidade Lisboa / Faculdade Ciências | Portugal | Capacitance method | HP4284A Precision LCR Meter | from 20 to 90ºC | Liquid samples |  |  | fjsantos@ciencias.ulisboa.pt | Under contact
Diffusion Coefficients | Universidade Lisboa / Faculdade Ciências | Portugal | Taylor Dispersion Technique | Developed in Lab | from 20 to 120ºC | Liquids |  |  | mllopes@ciencias.ulisboa.pt | Under contact
Electrical Conductivity | Universidade Lisboa / Faculdade Ciências | Portugal | Conductance Method | HP 4192A Wav Impedance Analyser | from 20 to 80ºC | Liquid samples |  |  | fjsantos@ciencias.ulisboa.pt | Under contact
High Temperature Furnace | Universidade Lisboa / Faculdade Ciências | Portugal | Thin-film annealing. High temperature calibrations and measutrements, gas phase | Tecnolab HT | from 20 to 1200ºC | Solid and gaseous samples. Molten materials |  |  | mjlourenco@ciencias.ulisboa.pt | Some additional cost
Phase Equilibria Apparatus (VLE) | Universidade Lisboa / Faculdade Ciências | Portugal | Flow Method | Developed in Lab | from 20 to 150ºC, P up to 17 Bar | Liquid Binary and Ternary Mixtures |  |  | afcristino@ciencias.ulisboa.pt | Under contact
Refraction Index | Universidade Lisboa / Faculdade Ciências | Portugal | Abbé Refractometry | Anton Paar Abbemat 500 | from 20 to 90ºC | Liquid samples |  |  | afsantos@ciencias.ulisboa.pt | Under contact
Sonicator | Universidade Lisboa / Faculdade Ciências | Portugal | Ultrasound Technique | Hielsher UP200St | Around Room temperature. Temperature monitored | Dispersions/Suspensions. Volumes from 0.1 to 2000 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Some additional cost
Specific Heat,Latent Heat, Thermal processes analysis | Universidade Lisboa / Faculdade Ciências | Portugal | Differential Scanning Calorimetry (DSC) | Linseis PT100 | from 20 to 700ºC | Solid and liquid samples |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Surface Structure | Universidade Lisboa / Faculdade Ciências | Portugal | Atomic Force Microscopy - AFM | Nanoscope IIIa Multimode AFM (Digital Instruments, Veeco) | Room temperature | Films, self-assembled monolayers, nanosystems |  |  | anaviana@ciencias.ulisboa.pt | Some additional cost
Thermal Conductivity (High Temperatures) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot strip | Developed in Lab | from 50 to 1200ºC | Molten materials, around 80 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (High Temperatures) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot strip | Developed in Lab | from 200 to 800ºC | Gaseous samples |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (low Temperature) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot wire | Developed in Lab | from -100 to 200ºC | Liquid samples, around 150 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (low to medium temperatures) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot strip |  | from - 10 to 200ºC | Liquid samples, around 20 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (medium temperatures) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot wire | Developed in Lab | from 20 to 200ºC | Gaseous samples |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (Room Temperature) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot wire probe | Hukseflux | from - 10 to 120ºC | Liquid samples, around 150 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermal Conductivity (Room Temperature) | Universidade Lisboa / Faculdade Ciências | Portugal | Transient hot wire probe | KD2 Pro | from 20 to 80ºC | Liquid samples, around 80 ml |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Thermometer Calibration Bench | Universidade Lisboa / Faculdade Ciências | Portugal | Thermal Comparator with standard thermometer/thermocouple references | Developed in Lab | from 20 to 700ºC | Thermocouples, PTRs, Thin-films thermometers |  |  | mjlourenco@ciencias.ulisboa.pt | Under contact
Viscosity | Universidade Lisboa / Faculdade Ciências | Portugal | Rehometer (Cone & Plate, Plate & Plate and Cioncentric Cylinders) | TA AR1500EX | from - 20 to 300ºC | Liquids, suspensions, pastes |  |  | fjsantos@ciencias.ulisboa.pt | Under contact
Viscosity | Universidade Lisboa / Faculdade Ciências | Portugal | Uhbelhode/Cannon Frenske/Ostwald capillary viscometer | SI Analytics (ex-SHOTT ) | from 20 to 90ºC | Newtonian Liquids |  |  | fjsantos@ciencias.ulisboa.pt | Under contact
Viscosity (High Temeperatures) | Universidade Lisboa / Faculdade Ciências | Portugal | Oscillating Cup | Developed in Lab | from 50 to 800ºC | Molten materials, around 80 ml |  |  | fjsantos@ciencias.ulisboa.pt | Under contact
Water Composition | Universidade Lisboa / Faculdade Ciências | Portugal | Karl-Fisher Coulometric | Mettler Toledo 831KF Coulometer | Room temperature | Liquid samples, low volume |  |  | xpmendez@ciencias.ulisboa.pt | Under contact
Water Composition | Universidade Lisboa / Faculdade Ciências | Portugal | Karl-Fisher Volumetric | Mettler Toledo KFV Titrator | Room temperature | Liquid samples, high volume |  |  | afcristino@ciencias.ulisboa.pt | Under contact
Morphology/Composition | Universidade Lisboa / Instituto Superior Técnico | Portugal | Scanning electron microscopy - SEM | Hitachi S2400 with Bruker light elements EDS detector; FEG-SEM: JEOL 7001F with Oxford light elements EDS detector and EBSD detector | Room temperature | Solid and liquid samples |  | http://microlab.ist.utl.pt/microfacilities.html | isabel.nogueira@tecnico.ulisboa.pt | Some additional cost
Morphology/Composition | Universidade Lisboa / Instituto Superior Técnico | Portugal | Transmission electron microscopy - TEM | Hitachi 8100 with ThermoNoran light elements EDS detector and digital image acquisition | Room temperature | Solid and liquid samples |  | http://microlab.ist.utl.pt/microfacilities.html | isabel.nogueira@tecnico.ulisboa.pt | Some additional cost
Custom setup (flow boiling experiments with smooth and corrugated tubes) | Universidade Lisboa / IST | Portugal | [6 empty] | anamoita@tecnico.ulisboa.pt | free to use
Custom setup (pool boiling experiments with simple or micro/nano structured surfaces) | Universidade Lisboa / IST | Portugal | [6 empty] | anamoita@tecnico.ulisboa.pt | free to use
Custom setup (Thermal Conductivity) | Universidade Lisboa / IST | Portugal | THW |  | from -15°C to 80°C | 30 mL/sample | Under Testing |  | anamoita@tecnico.ulisboa.pt | free to use
Custom setup (Viscosity, Density, Specific heat, Heat transfer coefficiend under forced confection) | Universidade Lisboa / IST | Portugal | Viscosity - Capillary viscosimeter; Density - Coriolis flow meter, Specific heat - flow calorimeter |  | from -15°C to 80°C | 1.5 L/sample |  | https://doi.org/10.1016/j.ijheatmasstransfer.2018.10.114 | anamoita@tecnico.ulisboa.pt | free to use
Microscopy (e.g. Detailed analysis of contact line region) | Universidade Lisboa / IST | Portugal | Laser Scanning Confocal Microscopy | Leica SP8 | ambient |  |  | https://www.leica-microsystems.com/products/confocal-microscopes/p/leica-tcs-sp8/ | anamoita@tecnico.ulisboa.pt | free to use
Sonicator | Universidade Lisboa / IST | Portugal | Ultrasonic homogenizer | Hielscher UP200Ht | ambient |  |  | https://www.hielscher.com/200ht_p.htm | anamoita@tecnico.ulisboa.pt | free to use
Surface tension and contact angles (Static and dynamic) | Universidade Lisboa / IST | Portugal | Optical tensiometry | THETA - Attention | ambient |  |  | https://www.biolinscientific.com/attension/optical-tensiometers/theta | anamoita@tecnico.ulisboa.pt | free to use
Convection heat transfer, pressure drop and magnetic field | Università della Campania | Italy | Heating by electrical resistance | Homemade | from 20°C-80°C |  | Experimental evaluation of convective heat transfer coefficient |  | Oronzio.MANCA@unicampania.it | Free to use
Thermal diffusivity | Università della Campania | Italy | NanoFlash | NETZSCH LFA 447 | from -50 to 150ºC |  |  |  | Oronzio.MANCA@unicampania.it | Free to use
Ultrasound probe | Università della Campania | Italy | Ultrasonic homogenizer | Hielscher UP 400S |  |  |  |  | Oronzio.MANCA@unicampania.it | Free to use
Atomic force microscopy | Universitat de Barcelona | Spain | Atomic force microscope (AFM) | Multimode 8 andNanoscope V electronics from Bruker with a Peak Force Quantita-tive Nanomechanics mode (QNM | from -40 - 150 ºC |  |  | https://www.bruker.com/products/surface-and-dimensional-analysis/atomic-force-microscopes/multimode-8-hr/overview.html | c.barreneche@ub.edu | Additional cost
Chemical composition | Universitat de Barcelona | Spain | Fourier-transform infrared spectroscopy | Spectrum Two™ from Perkin Elmer (Waltham, MA, USA) | at RT |  |  | http://www.perkinelmer.com/es/category/infrared-spectroscopy-ft-ir | c.barreneche@ub.edu | Free to use
Crystal structure and chemical composition | Universitat de Barcelona | Spain | X-Ray Difraction | XRD from Philips MRD | from RT to 400ºC |  |  | https://www.malvernpanalytical.com/en/products/product-range/xpert3-range/xpert3-mrd | c.barreneche@ub.edu | Additional cost
Morphology/Composition | Universitat de Barcelona | Spain | Scanning electron microscopy-SEM | SEM QUANTA 200 | at RT |  |  | https://www.fei.com/products/sem/quanta-sem/ | c.barreneche@ub.edu | Additional cost
Particle size distribution | Universitat de Barcelona | Spain | Multisizer | Coulter counter multisizer PSD | from RT | 25 ml |  | https://www.beckman.com/cell-counters-and-analyzers/multisizer-4e | c.barreneche@ub.edu | Additional cost
Specific Heat,Latent Heat, Thermal processes analysis | Universitat de Barcelona | Spain | Differential Scanning Calorimetry (DSC), Modulated Differential Scanning Calorimetry (MDSC) | DSC2 Mettler Toledo | from -150ºC-700ºC | ~50µl/sample |  | https://www.mt.com/es/en/home/products/Laboratory_Analytics_Browse/TA_Family_Browse/DSC.html | c.barreneche@ub.edu | Additional cost
Thermal conductivity, Thermal resistivity | Universitat de Barcelona | Spain | Transient hot wire | KD2 Pro | from -50 to 150ºC | Solid (30ml/sample) and liquid (20 ml) samples can be measured. |  | https://www.metergroup.com/environment | c.barreneche@ub.edu | Free to use
Thermal cycling stability | Universitat de Barcelona | Spain | Thermal cycler | GeneQ Thermal Cycler from BIOER | from RT to 105ºC | ~25µl/sample |  | http://en.bioer.com.cn/product/216.html | c.barreneche@ub.edu | Free to use
Thermal stability | Universitat de Barcelona | Spain | Thermogravimetric analysis-TGA | DSTQ600, TA Instruments | up to 1600ºC |  |  | https://www.tainstruments.com/products/thermal-analysis/thermogravimetric-analysis/ | c.barreneche@ub.edu | Additional cost
Ultrasound probe | Universitat de Barcelona | Spain | Ultrasonic homogenizer | Ultrasonic vibra-cell | at RT |  |  | https://www.sonics.com/liquid-processing/products/vibra-cell-processors/ | c.barreneche@ub.edu | Free to use
Viscosity | Universitat de Barcelona | Spain | Rheometry | RST Cone Plate Rheometer from Brookfield | from RT to 95ºC | < 1.5 ml/sample |  | https://www.brookfieldengineering.com/products/rheometers/rst-cone-plate-rheometer | c.barreneche@ub.edu | Free to use
Absorption, transmittance and scattering spectra | Universitat Jaume I | Spain | UV-Vis | CARY 500 Spectrophotometer, Varian Dev. | Room temperature | liquids: 10 ml/sample solids: 0.5 ml/sample |  |  | cordonci@uji.es | Free to use
Centrifuge | Universitat Jaume I | Spain | - | Nahita 2652 |  | 12 vials of 15 ml | up to 4000 rpm |  | lhernand@uji.es | Free to use
Chemical composition | Universitat Jaume I | Spain | Fourier-transform infrared spectroscopy | FT/IR-6200-Jasco |  |  |  |  | lhernand@uji.es | Some additional cost
Contact angle | Universitat Jaume I | Spain | Sessile drop | self-designed equipment |  |  |  |  | lhernand@uji.es | Free to use
Crystal structure and chemical composition | Universitat Jaume I | Spain | X-Ray Difraction | D4 Endeavor & D8 Advance- Bruker-AXS | up to 1200ºC |  |  | https://www.cordouan-tech.com/products/vasco-flex/ | lhernand@uji.es | Some additional cost
Heat transfer coefficient, Nusselt number and pressure drop | Universitat Jaume I | Spain | Thermal hydraulic loop for nanofluids dynamic characterización | self-designed equipment | up to 400º and 10 bar | 50 liters of liquid |  |  | lhernand@uji.es
Morphology/Composition | Universitat Jaume I | Spain | Scanning electron microscopy-SEM | JEOL 7001F |  |  |  |  | lhernand@uji.es | Some additional cost
Morphology/Composition | Universitat Jaume I | Spain | Transmission electron microscopy-TEM | JEOL 2100 |  |  |  |  | lhernand@uji.es | Some additional cost
Particle size distribution | Universitat Jaume I | Spain | Dynamic Light Scatering | Vasco Flex-Corduan Technologies | from RT to 400ºC | 25 ml |  |  | lhernand@uji.es | Free to use
Particle size distribution and zeta potential | Universitat Jaume I | Spain | Dynamic Light Scatering | Zetasizer Nano ZS-Malvern | from 0ºC to 90ºC | 1 ml |  | https://www.malvernpanalytical.com/en/products/product-range/zetasizer-range/zetasizer-nano-range | cordonci@uji.es | Free to use
pH | Universitat Jaume I | Spain | Glass electrode | Consort C-1010 | 0-100ºC |  |  |  | lhernand@uji.es | Free to use
Porous size distribution | Universitat Jaume I | Spain | Nitrogen adsoption | Gemini V Micromeritics Instrument Corp. |  |  |  | https://www.micromeritics.com/Product-Showcase.aspx | lhernand@uji.es | Some additional cost
Rheology, Viscosity | Universitat Jaume I | Spain | Rheometry | Discovery HR-TA instruments | from -160ºC to 600ºC | < 1.5 ml/sample | Parallel plates 40 mm | http://www.tainstruments.com/products/rheology/discovery-hybrid-rheometers/ | lhernand@uji.es | Free to use
Specific Heat,Latent Heat, Thermal processes analysis | Universitat Jaume I | Spain | Differential Scanning Calorimetry (DSC), Modulated Diferential Scanning Calorimetry (MDSC) | DSC2 Mettler Toledo | from -70ºC-700ºC | ~50µl/sample |  | https://www.mt.com/es/en/home/products/Laboratory_Analytics_Browse/TA_Family_Browse/DSC.html | lhernand@uji.es | Some additional cost
Specific surface area BET | Universitat Jaume I | Spain | Nitrogen adsoption | Gemini V Micromeritics Instrument Corp. |  |  |  | https://www.micromeritics.com/Product-Showcase.aspx | lhernand@uji.es | Some additional cost
Thermal conductivity, Thermal resistivity | Universitat Jaume I | Spain | Transient hot wire | KD2 Pro | from -50 to 150ºC | Solid (30ml/sample) and liquid (20 ml) samples can be measured. |  | https://www.metergroup.com/environment | lhernand@uji.es | Free to use
Thermal stability | Universitat Jaume I | Spain | Thermogravimetric analysis-TGA | TGA/SDTA851e/LF/1600-Mettler Toledo | up to 1600ºC |  |  |  | lhernand@uji.es | Some additional cost
Transmittance | Universitat Jaume I | Spain | UV-Vis | self-designed equipment | up to 250ºC | liquids:20ml |  |  | lhernand@uji.es | Free to use
Ultrasound probe | Universitat Jaume I | Spain | Ultrasonic homogenizer | Sonopuls HD2200-Bandelin |  |  |  | https://bandelin.com/produkte/ultrasonic_homogenizers/?lang=en | lhernand@uji.es | Free to use
Chemical composition, crystal structure | Université Rennes 1 | France | X-ray diffraction (XRD) | PANanlytical X'Pert PRO | Room temperature |  |  |  | patrice.estelle@univ-rennes1.fr | Some additional cost
Crystal structure | Université Rennes 1 | France | Raman sprectroscopy | LabRAM HR 800 | Room temperature |  |  |  | patrice.estelle@univ-rennes1.fr | Some additional cost
Density | Université Rennes 1 | France | Gas pycnometry nitrogen, helium (powder, liquid, paste) | UltraPyc 1200e (Quantachrome/Anton Paar) | from 10°C to 50°C | from few mg to g (different sizes of container) |  |  | patrice.estelle@univ-rennes1.fr | Free to use
Foam structure analyzer | Université Rennes 1 | France | Image analysis, bubble size distribution | Dynamic Foam Analyzer – DFA100 KRÜSS GmBH | Ambiant | few cl |  |  | patrice.estelle@univ-rennes1.fr | Free to use
Heat transfer | Université Rennes 1 | France | Co-axial heat exchanger | Homemade |  |  | Experimental setup for heat transfer performance evaluation |  | patrice.estelle@univ-rennes1.fr | Free to use
Particle size, morphology | Université Rennes 1 | France | Atomic force microscopy (AFM) | Multimode 8 | Room temperature |  |  |  | patrice.estelle@univ-rennes1.fr | Some additional cost
Particle size, morphology, composition | Université Rennes 1 | France | Scanning electron microscopy (SEM), Energy dispersive X-ray spectroscopy (EDS) | JEOL JSM 7100 F EDS EBSD Oxford | Room temperature |  |  |  | patrice.estelle@univ-rennes1.fr | Some additional cost
Particle size, morphology, crystal structure | Université Rennes 1 | France | Transmission electron microscopy (TEM), Electron diffraction | JEOL 2100 | Room temperature |  |  |  | patrice.estelle@univ-rennes1.fr | Some additional cost
Surface tension, interfacial tension, contact angle | Université Rennes 1 | France | Pendant drop, reverse drop, sessile drop | Drop Shape Analyzer DSA-30 KRÜSS GmBH | from -20 to 160 °C | from 1 ml/sample |  |  | patrice.estelle@univ-rennes1.fr | Free to use
Thermal conductivity | Université Rennes 1 | France | Transient hot wire (time measurement less than few second) | Thermtest THW-L2 | from -10 to 90°C | 20 ml/sample |  | https://thermtest.com/thw-l2 | patrice.estelle@univ-rennes1.fr | Free to use
Thermal conductivity, Thermal resistivity | Université Rennes 1 | France | Transient hot wire | KD2 Pro | from 10 to 50°C | liquid (20 ml) samples |  | https://www.metergroup.com/environment | patrice.estelle@univ-rennes1.fr | Free to use
Ultrasound bath | Université Rennes 1 | France | Ultrasonic homogenizer | Fischer Bioblock Sci. Transonic |  |  |  |  | patrice.estelle@univ-rennes1.fr | Free to use
Viscosity, rheological properties | Université Rennes 1 | France | Rheometry, cone&plate and other geometries | Malvern Kinexus Pro | from -20 to +200 °C | from 1ml/sample |  |  | patrice.estelle@univ-rennes1.fr | Free to use
Chemical composition | University of Birmingham | United Kingdom | FT-IR/IR Microscope | Tensor 27/ Lumos Bruker | room T | solid (< 1g), powder (< 1g) and liquid (< 1mL) |  |  | H.Navarro@bham.ac.uk | to be defined
Crystal structure and chemical composition | University of Birmingham | United Kingdom | X-Ray Difraction | D8 Advance- Bruker | from -180 to 450ºC |  | high temperature/low temperature stage, capillar |  | H.Navarro@bham.ac.uk | to be defined
Dynomill | University of Birmingham | United Kingdom | Dynomill | Willy A. Bachofen AG |  |  |  |  | H.Navarro@bham.ac.uk | to be defined
Glove Box | University of Birmingham | United Kingdom |  |  | with analytical balance |  |  |  | H.Navarro@bham.ac.uk | to be defined
Morphology/Composition | University of Birmingham | United Kingdom | Scanning electron microscopy-SEM | Hitachi TM3030 | room T |  |  |  | H.Navarro@bham.ac.uk | to be defined
Particle size distribution | University of Birmingham | United Kingdom | Dynamic Light Scatering | Malvern | room T |  |  |  | H.Navarro@bham.ac.uk | to be defined
Thermal conductivity, Thermal diffusivity | University of Birmingham | United Kingdom | Hot wire | Systemtechnik | from -10 up to 80 ºC | liquid sample ~ 100 mL |  |  | H.Navarro@bham.ac.uk | to be defined
Thermal conductivity, Thermal diffusivity | University of Birmingham | United Kingdom | Laser Flash Apparatus | Netzsch/Linseis | from -150 to 1500 ºC | Solid sample ( pellets 12.7 mm diameter, 2-3mm thickness) and liquid (0.5-1 g) |  |  | H.Navarro@bham.ac.uk | to be defined
Thermal conductivity, Thermal diffusivity | University of Birmingham | United Kingdom | Thermal Hot bridge | Linseis | from -150 to 1000 ºC | Solid sample (20x40 m,>1cm thikness) and liquid |  |  | H.Navarro@bham.ac.uk | to be defined
thermal stability | University of Birmingham | United Kingdom | Thermogravimetric analysis-TGA/DSC | STA449 Netzsch/STA Linseis | from -150 to 1600ºC | ~50µl/sample |  |  | H.Navarro@bham.ac.uk | to be defined
Ultrasound probe | University of Birmingham | United Kingdom | Ultrasonic homogenizer | Fisherbrand™ Q500 Sonicator |  |  |  |  | H.Navarro@bham.ac.uk | to be defined
Viscosity | University of Birmingham | United Kingdom | Rheometer | Anton Paar | from -150 up to 700ºC | ~50µl/sample | Parallel Plate 35 mm, Cup |  | H.Navarro@bham.ac.uk | to be defined
This is a database generated during the COST Action Nanouptake www.nanouptake.eu